VIATMIN B12

Pretreatment Procedure:

- Pretreatment-1 (Prepare with 5 ml Pretreatment-2,then put 120 micro in eppendrof tube and put them in the freezer)

- Pretreatment-3 (Ready for use)

Procedure:

- Put (200) μl serum in hetashi cup.

- Add (100) μl Pretreatment-1.

- Mix, incubation (15 min) at room temperature.

- Then add (100) μl Pretreatment-3, mixing.

- Ready for reading.