## Slide 1: Nucleic Acid Extraction & Quantitation
Introduction
  Reasons for extracting nucleic acids (DNA & RNA)
    Genetic testing
    Cancer characterization (analysis of tumors, myeloproliferative disorders)
    Human identity testing
      Paternity
      Forensics
    Infectious organisms (detection, characterization)
  Specimens - Variety
    Body fluids including blood, urine, semen
    Buccal swabs
    Tissues (fresh & preserved)
    Cultured microorganism

## Slide 2: Nucleic Acid Extraction & Quantitation
  DNA
    Relatively stable
    In long, thin strands, which may break (shearing)
    Avoid excessive & rough pipeting & vortexing
  RNA
    Total RNA: mRNA, tRNA & rRNA (mRNA most common target)
    RNA: Small, unstable, easily degraded (DNA preferred target)
    RNA testing required for some tests
      RNA viruses
        HIV (Human Immunodeficiency Virus)
        HCV (Hepatitis C virus)
      “Expressed gene” detection (active genes produce mRNA)

## Slide 3: Nucleic Acid Extraction & Quantitation
  Basic laboratory procedures (Protect lab worker & samples)
    Use Universal Precautions (wear gloves & gown)
    Use Aerosol Resistant Tips (ART): Prevents contamination of pipettes (which can contaminate samples)
    Small mistakes can lead to big consequences since working with small samples
    Pulse spin - Short bursts of centrifuge reaching full speed
      Force specimen to bottom of tube
      Prevent losing specimen/creating aerosols when tube opened
    Don’t over vortex: Leads to shearing of nucleic acid

## Slide 4: Nucleic Acid Extraction
  Basic steps in nucleic acid extraction
    Cell lysis (disrupt cell membranes)
    Digest proteins
    Purify DNA
  DNA extraction protocols
    Liquid-phase
      Cell lysate added to solvents w/ different solubility constants
      DNA present in one layer & not in the other
      DNA layer separated, DNA precipitated out, then rehydrated
      Example: Phenol-chloroform protocol (Nasty reagents)
      Website: http://learn.genetics.utah.edu/ →The Biotechniques Virtual Laboratory→ DNA Extraction

## Slide 5: Nucleic Acid Extraction & Quantitation
    Solid-phase – silica (glass particles) method
      Protocol used by many clinical labs
      Fast, safe & yields very clean DNA
      DNA binds reversibly to silica depending on pH
      Protocol
        Cells lysed & treated w/ proteinases (removes proteins)
        DNA precipitated by addition of alcohol
        DNA resuspended & added to column with silica
        Centrifugation helps suspension pass though column
        DNA attaches to column
        Column rinsed with buffer to remove debris
        DNA eluted from column with a different buffer
        Purified DNA in bottom of tube

## Slide 6
  Some RNA may also be extracted with this protocol
    Can add RNase to remove
    RNA unstable & much destroyed during processing
  Yield
    Average 6 µg from 200 µl whole human blood
    Size Up to 50 kb; most 20-30 kb range
Avoid multiple freeze-thaw cycles

## Slide 7
  RNA extraction
    Similar to DNA protocols (Liquid & solid phase) but more difficult
    RNA unstable
      Process fresh specimens promptly
      Place in special preservative
      Snap-freeze in liquid nitrogen
    RNases ubiquitous (hands, water, equipment, everywhere!!!!)

## Slide 8
    Special requirements - RNase free components
      RNase-free reagents
      RNase-free water: Treat with special chemical to inactivate
      RNase-free plastic ware
      Clean equipment/working surfaces with RNase-free detergents or chemicals
      Use DNase to remove DNA which can interfere with test results
    Cell lysis buffers include chemicals to inactivate RNases found in cells
    Wear gloves & change frequently
    Avoid multiple freeze-thaw cycles

## Slide 9: Nucleic acid purity
Nucleic acid purity
  Ultraviolet (UV) spectrophotometer
    Nucleic acids absorb UV light at 260 nM (A260)
    Proteins absorb UV at 280 nM (A280)
  Use Nucleic acid to Protein ratio to determine purity
    Ratio of 1.8 to 2.0: Very clean nucleic acid preparation
    Ratio of 1.6 to 1.8: Acceptable for some tests (PCR) but not others (sequencing)
    Ratio of <1.6: Not acceptable

## Slide 10: Nucleic acid quantitation
Nucleic acid quantitation
  Optical density (OD) units
    1.0 OD unit at A260 (OD260) = 50 µg/ml double stranded DNA
    1.0 OD260 unit = 40 µg/ml RNA
  Yield calculation (total amount of nucleic acid)
    Calculate µg/ml based on OD260 reading & dilution (if any) used
    Convert the nucleic acid concentration from µg/ml to µg/µl
    Multiply µg/µl X µl = Total µg

## Slide 11
  Example:
    A DNA sample gives the following results:
Total volume = 100 µl
Specimen diluted 1:5
Diluted specimen OD260 = 0.500 units
Diluted specimen OD280 = 0.300 units
    Yield calculation
      0.5 OD260 units X 50 µg/ml per 1 OD260 unit = 25 µg/ml
      Specimen diluted 1:5 = 125 µg/ml original concentration
      125 µg/ml X 1ml/1000 µl = 0.125 µg/µl = 12.5 µg/100µl
      Yield = 12.5 µg DNA
    Purity calculation:
OD260 = 0.500 = 1.7
OD280 0.300

## Slide 12: Lessons
List some of reasons for extracting nucleic acids.
Compare DNA and RNA with respect to their:
  Relative stability
  Extraction protocols
Briefly outline the basic laboratory procedure for extracting nucleic acids including:
  Universal Precautions
  Aerosol Resistant Tips
  Centrifugation
  Vortexing
  Specimen processing
Briefly outline the solid-phase extraction procedure.
Summarize factors which interfere with nucleic acid extraction including:
  RNase
  Freeze-thaw cycles
Determine and evaluate the purity of a nucleic acid preparation.
Calculate nucleic acid yield for RNA and DNA preparations.

## Slide 13: DNA Extraction Project (5 Points)
Website:
http://learn.genetics.utah.edu/ →The Biotechniques Virtual Laboratory→ DNA Extraction
1. Name 3 reasons for isolating DNA.
2. Name the specimen collected for this DNA extraction exercise.
3. Name the four DNA purification steps.
4. Name the two reagents in the lysis solution. What is the purpose of each?
5. Name the purpose of the concentrated salt solution.
6. Name the purpose of adding isopropyl alcohol to the DNA suspension.
7. How can DNA be stored for many years?